## IO_inputs
Model | Scenario | Region | Variable | Unit | 2050 | Notes
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Biomass | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Biomass¦w/ CCS | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Biomass¦w/o CCS | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Coal | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Coal¦w/ CCS | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Coal¦w/o CCS | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Gas | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Gas¦w/ CCS | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Gas¦w/o CCS | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Geothermal | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Nuclear | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Oil | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Oil¦w/ CCS | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Oil¦w/o CCS | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Solar | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Solar¦CSP | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Solar¦PV | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Wind | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Wind¦Offshore | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity Additions¦Electricity¦Wind¦Onshore | GW/yr
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity | GW | 671.4005
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Biomass | GW | 167.8501
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Biomass¦w/ CCS | GW
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Biomass¦w/o CCS | GW
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Coal | GW | 0
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Coal¦w/ CCS | GW
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Coal¦w/o CCS | GW
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Gas | GW | 503.5504
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Gas¦w/ CCS | GW
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Gas¦w/o CCS | GW
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Geothermal | GW
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Hydro | GW | 154
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Nuclear | GW | 87
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Oil | GW | 0
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Oil¦w/ CCS | GW
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Oil¦w/o CCS | GW
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Solar | GW | 0
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Solar¦CSP | GW
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Solar¦PV | GW | 441.49
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Wind | GW | 0
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Wind¦Offshore | GW | 142.859
EnergyPLAN | Baseline | EU_UK | Capacity¦Electricity¦Wind¦Onshore | GW | 440.867
EnergyPLAN | Baseline | EU_UK | Capital Cost¦Electricity¦Biomass¦w/ CCS | EUR2010/kW
EnergyPLAN | Baseline | EU_UK | Capital Cost¦Electricity¦Biomass¦w/o CCS | EUR2010/kW | 1350
EnergyPLAN | Baseline | EU_UK | Capital Cost¦Electricity¦Coal¦w/ CCS | EUR2010/kW
EnergyPLAN | Baseline | EU_UK | Capital Cost¦Electricity¦Coal¦w/o CCS | EUR2010/kW | 1350
EnergyPLAN | Baseline | EU_UK | Capital Cost¦Electricity¦Gas¦w/ CCS | EUR2010/kW
EnergyPLAN | Baseline | EU_UK | Capital Cost¦Electricity¦Gas¦w/o CCS | EUR2010/kW | 1350
EnergyPLAN | Baseline | EU_UK | Capital Cost¦Electricity¦Geothermal | EUR2010/kW
EnergyPLAN | Baseline | EU_UK | Capital Cost¦Electricity¦Nuclear | EUR2010/kW | 7940
EnergyPLAN | Baseline | EU_UK | Capital Cost¦Electricity¦Solar¦CSP | EUR2010/kW
EnergyPLAN | Baseline | EU_UK | Capital Cost¦Electricity¦Solar¦PV | EUR2010/kW | 345
EnergyPLAN | Baseline | EU_UK | Capital Cost¦Electricity¦Wind¦Offshore | EUR2010/kW | 1777
EnergyPLAN | Baseline | EU_UK | Capital Cost¦Electricity¦Wind¦Onshore | EUR2010/kW | 963
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS | Mt CO2/yr | 0
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Biomass | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Biomass¦Energy¦Demand¦Industry | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Biomass¦Energy¦Supply | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Biomass¦Energy¦Supply¦Electricity | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Biomass¦Energy¦Supply¦Hydrogen | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Biomass¦Energy¦Supply¦Liquids | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Fossil | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Fossil¦Energy¦Demand¦Industry | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Fossil¦Energy¦Supply | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Fossil¦Energy¦Supply¦Electricity | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Fossil¦Energy¦Supply¦Hydrogen | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Fossil¦Energy¦Supply¦Liquids | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Carbon Sequestration¦CCS¦Industrial Processes | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2 | Mt CO2/yr | 1342
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦AFOLU | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy and Industrial Processes | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦AFOFI | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Industry | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Industry¦Cement | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Industry¦Chemicals | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Industry¦Chemicals¦Ammonia | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Industry¦Non-ferrous metals | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Industry¦Other | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Industry¦Steel | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Residential and Commercial | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Residential and Commercial¦Commercial | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Residential and Commercial¦Residential | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Transportation | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Transportation¦Freight | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Demand¦Transportation¦Passenger | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Supply | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Supply¦Electricity | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Supply¦Gases | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Supply¦Liquids | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Energy¦Supply¦Solids | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Emissions¦CO2¦Industrial Processes | Mt CO2/yr
EnergyPLAN | Baseline | EU_UK | Energy Service¦Transportation¦Freight | billion tkm/yr
EnergyPLAN | Baseline | EU_UK | Energy Service¦Transportation¦Freight¦International Shipping | billion tkm/yr
EnergyPLAN | Baseline | EU_UK | Energy Service¦Transportation¦Freight¦Navigation | billion vkm/yr
EnergyPLAN | Baseline | EU_UK | Energy Service¦Transportation¦Freight¦Railways | billion tkm/yr
EnergyPLAN | Baseline | EU_UK | Energy Service¦Transportation¦Freight¦Road | billion tkm/yr
EnergyPLAN | Baseline | EU_UK | Energy Service¦Transportation¦Passenger | billion pkm/yr
EnergyPLAN | Baseline | EU_UK | Energy Service¦Transportation¦Passenger¦Aviation | billion pkm/yr
EnergyPLAN | Baseline | EU_UK | Energy Service¦Transportation¦Passenger¦Bicycling and Walking | billion pkm/yr
EnergyPLAN | Baseline | EU_UK | Energy Service¦Transportation¦Passenger¦Railways | billion vkm/yr
EnergyPLAN | Baseline | EU_UK | Energy Service¦Transportation¦Passenger¦Road | billion vkm/yr
EnergyPLAN | Baseline | EU_UK | Energy Service¦Transportation¦Passenger¦Road¦LDV | billion pkm/yr
EnergyPLAN | Baseline | EU_UK | Final Energy | EJ/yr
EnergyPLAN | Baseline | EU_UK | Final Energy¦Electricity | EJ/yr | 21.8589 | Includes: general electricity demand, flexible demand, additional demand, transport demand, heating (individual and DH), electrolysers, CO2 hydrogenation.
EnergyPLAN | Baseline | EU_UK | Final Energy¦Gases | EJ/yr | 1.83 | Includes: Demands for gas in CHP3, boilers, power plants, industry/others. Does not include the production of biogas in the system, which will count as a negative (see primary energy demand for gas further down).
EnergyPLAN | Baseline | EU_UK | Final Energy¦Heat | EJ/yr | 8.748
EnergyPLAN | Baseline | EU_UK | Final Energy¦Hydrogen | EJ/yr | 0.216
EnergyPLAN | Baseline | EU_UK | Final Energy¦Industry | EJ/yr | 8.9732
EnergyPLAN | Baseline | EU_UK | Final Energy¦Industry¦Electricity | EJ/yr | 4.1208
EnergyPLAN | Baseline | EU_UK | Final Energy¦Industry¦Gases | EJ/yr | 2.2973
EnergyPLAN | Baseline | EU_UK | Final Energy¦Industry¦Heat | EJ/yr
EnergyPLAN | Baseline | EU_UK | Final Energy¦Industry¦Hydrogen | EJ/yr | 0
EnergyPLAN | Baseline | EU_UK | Final Energy¦Industry¦Liquids | EJ/yr
EnergyPLAN | Baseline | EU_UK | Final Energy¦Industry¦Solids | EJ/yr | 2.5551
EnergyPLAN | Baseline | EU_UK | Final Energy¦Industry¦Solids¦Biomass | EJ/yr | 1.6059
EnergyPLAN | Baseline | EU_UK | Final Energy¦Industry¦Solids¦Coal | EJ/yr | 0.94916
EnergyPLAN | Baseline | EU_UK | Final Energy¦Liquids | EJ/yr
EnergyPLAN | Baseline | EU_UK | Final Energy¦Non-Energy Use | EJ/yr
EnergyPLAN | Baseline | EU_UK | Final Energy¦Residential and Commercial | EJ/yr
EnergyPLAN | Baseline | EU_UK | Final Energy¦Residential and Commercial¦Heat | EJ/yr
EnergyPLAN | Baseline | EU_UK | Final Energy¦Residential and Commercial¦Electricity | EJ/yr
EnergyPLAN | Baseline | EU_UK | Final Energy¦Solids | EJ/yr | 8.964
EnergyPLAN | Baseline | EU_UK | Final Energy¦Solids¦Biomass | EJ/yr | 8.028
EnergyPLAN | Baseline | EU_UK | Final Energy¦Solids¦Coal | EJ/yr | 0.936
EnergyPLAN | Baseline | EU_UK | Final Energy¦Transportation | EJ/yr | 14.724
EnergyPLAN | Baseline | EU_UK | Final Energy¦Transportation¦Aviation | EJ/yr | 5.328
EnergyPLAN | Baseline | EU_UK | Final Energy¦Transportation¦Electricity | EJ/yr | 1.872
EnergyPLAN | Baseline | EU_UK | Final Energy¦Transportation¦Gases | EJ/yr | 0.576
EnergyPLAN | Baseline | EU_UK | Final Energy¦Transportation¦Hydrogen | EJ/yr | 0.216
EnergyPLAN | Baseline | EU_UK | Final Energy¦Transportation¦Liquids | EJ/yr | 6.732
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦CO2 Transport and Storage | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Biomass | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Biomass¦w/ CCS | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Biomass¦w/o CCS | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Coal | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Coal¦w/ CCS | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Coal¦w/o CCS | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Gas | billion EUR2010/yr | 116.6407
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Gas¦w/ CCS | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Gas¦w/o CCS | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Geothermal | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Hydro | billion EUR2010/yr | 425.04
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Non-Biomass Renewables | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Nuclear | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Oil | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Oil¦w/ CCS | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Oil¦w/o CCS | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Solar | billion EUR2010/yr | 152.314
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Transmission and Distribution | billion EUR2010/yr | 2217 | Distribution grid investments
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Electricity¦Wind | billion EUR2010/yr | 678.4154
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Extraction¦Coal | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Extraction¦Fossil | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Extraction¦Gas | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Investment¦Energy Supply¦Extraction¦Oil | billion EUR2010/yr
EnergyPLAN | Baseline | EU_UK | Population | million | 515
EnergyPLAN | Baseline | EU_UK | Price¦Carbon | EUR2010/t CO2 | 42
EnergyPLAN | Baseline | EU_UK | Primary Energy | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Biomass | EJ/yr | 8.028
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Biomass¦1st Generation | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Biomass¦Modern | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Biomass¦Traditional | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Coal | EJ/yr | 0.936
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Coal¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Coal¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Fossil | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Fossil¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Fossil¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Gas | EJ/yr | 9.144
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Gas¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Gas¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Non-Biomass Renewables | EJ/yr | 10.764
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Non-Biomass Renewables¦Geothermal | EJ/yr | 0.216
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Non-Biomass Renewables¦Hydro | EJ/yr | 1.368
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Non-Biomass Renewables¦Solar | EJ/yr | 2.304
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Non-Biomass Renewables¦Wind | EJ/yr | 6.912
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Nuclear | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Oil | EJ/yr | 9.396
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Oil¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Oil¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Primary Energy¦Secondary Energy Trade | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Biomass | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Biomass¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Biomass¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Coal | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Coal¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Coal¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Gas | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Gas¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Gas¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Geothermal | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Hydro | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Non-Biomass Renewables | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Nuclear | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Oil | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Oil¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Solar | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Solar¦CSP | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Solar¦PV | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Wind | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Wind¦Offshore | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Electricity¦Wind¦Onshore | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Gases | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Gases¦Biomass | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Gases¦Coal | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Gases¦Natural Gas | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen¦Biomass | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen¦Biomass¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen¦Biomass¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen¦Coal | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen¦Coal¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen¦Electricity | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen¦Fossil | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen¦Fossil¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen¦Fossil¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen¦Gas | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen¦Gas¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Hydrogen¦Gas¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Liquids | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Liquids¦Biomass | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Liquids¦Biomass¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Liquids¦Biomass¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Liquids¦Coal | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Liquids¦Coal¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Liquids¦Coal¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Liquids¦Fossil | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Liquids¦Fossil¦w/ CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Liquids¦Fossil¦w/o CCS | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Liquids¦Gas | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Liquids¦Oil | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Solids | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Solids¦Biomass | EJ/yr
EnergyPLAN | Baseline | EU_UK | Secondary Energy¦Solids¦Coal | EJ/yr
This is data for the Baseline 2050 scenario for Europe.
These are only capacities for electricity generation. We do however also have capacities for heat production technologies, e.g., heat only boilers (on biogas and biomass), and electrical heat pumps. Both in individual and district heating.
We also have storage capacities (mainly thermal storage in DH), which is also not included in the current format.
We also include capital costs for heat production technologies (boilers, heat pumps, heat storage, etc.), and can include these as neeeded.

## EnergyPLAN_out
§§§§§§ WARNING: Critical Excess Electricity Production §§§§§ §§§§§§ WARNING: Negative value in H2 storage: Try smaller storage §§§§§
EnergyPLAN model 16.22 | [5 empty] | OVERVIEW OF INVESTMENT COSTS | Interest Rate: | 3% | [7 empty] | FUEL BALANCE
RESULT: Data-set: | Baseline2050.txt
Technical regulation no. 2 | [5 empty] | COSTS (B EUR): | Total Inv. | Annual Inv. | Fixed |  |  | Total Inv. | Annual Inv. | Fixed |  | Primary Energy
Critical Excess Regulation Strategy: 000000000 | [6 empty] | Costs | Costs | O&M |  |  | Costs | Costs | O&M |  | PWh/year | DHP | CHP2 | CHP3 | Boiler2 | Boiler3 | PP | Geo/Nu. | Hydro | Waste/HTL | CAES/ELT | BioCon | EFuel | VRES | SolarTh | Transp. | Househ | Ind/Var | Total
[6 empty] | Solar thermal | 0 | 0 | 0 |  | Substations |  |  |  |  | Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26 | 0.26
Total Calculation Time | 12:00 |  |  |  |  | Small CHP units | 0 | 0 | 0 |  |  | 54 | 3 | 1 |  | Oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.42 | 0.01 | 0.18 | 2.61
Loading of Data | 12:00 |  |  |  |  | Heat Pump gr. 2 | 0 | 0 | 0 |  | DH grid |  |  |  |  | N.Gas | 0 | 0 | 0.39 | 0 | 0.08 | 0.72 | 0 | 0 | 0 | 0 | -0.42 | 0 | 0 | 0 | 0.16 | 0.96 | 0.64 | 2.54
Calculating Strategy 1 | 12:00 |  |  |  |  | Heat Storage CHP | 0 | 0 | 0 |  |  | 4 | 4 | 0 |  | Biomass | 0 | 0 | 0.13 | 0 | 0.03 | 0.24 | 0 | 0 | 0.34 | 0 | 0.86 | 0 | 0 | 0 | 0 | 0.19 | 0.45 | 2.23
Calculating Strategy 2 | 12:00 |  |  |  |  | Large CHP units | 117 | 7 | 4 |  | Heat savings |  |  |  |  | Renewable | 0 | 0 | 0 | 0 | 0 | 0 | 0.06 | 0.38 | 0 | 0 | 0 | 0 | 2.56 | 0 | 0 | 0 | 0 | 2.99
Calculating Heatstorage | 12:00 |  |  |  |  | Heat Pump gr. 3 | 1 | 1 | 0 |  |  | 0 | 0 | 0 |  | H2 etc. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.06 | 0 | 0 | 0 | 0 | 0.06 | 0 | 0 | 0
Calc. economy and Fuel | 12:00 |  |  |  |  | Heat Storage Solar | 0 | 0 | 0 |  | Services savings |  |  |  |  | Biofuel | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0.2 | 0 | 0 | 0
[6 empty] | Boilers gr. 2 and 3 | 53 | 3 | 2 |  |  | 0 | 0 | 0 |  | Nucl/CCS | 0 | 0 | 0 | 0 | 0 | 0 | 1.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.79
ANNUAL CO2 EMISSIONS (Gt): | [5 empty] | Large Power Plants | 673 | 39 | 22 |  | Industry savings |  |  |  |  | Total | 0 | 0 | 0.52 | 0 | 0.11 | 0.96 | 1.84 | 0.38 | 0.34 | -0.06 | 0.24 | 0 | 2.56 | 0 | 2.84 | 1.16 | 1.53 | 12.41
CO2-emission (total) | 1.342 |  |  |  |  | Wind | 425 | 23 | 6 |  |  | 0 | 0 | 0
CO2-emission (corrected) | 1.336 |  |  |  |  | Wind offshore | 254 | 14 | 5 |  | Transport (road transport) |  |  |  |  | Detailed emissions (ton)
[6 empty] | Photo Voltaic | 152 | 8 | 4 |  |  | 10605 | 997 | 150 |  | SO2 | 0.007
SHARE OF RES (incl. Biomass): | [5 empty] | Wave power | 0 | 0 | 0 |  | Distribution grid |  |  |  |  | PM2.5 | 0.007
RES share of PES | 42 | percent |  |  |  | River of hydro | 0 | 0 | 0 |  |  | 2217 | 86 | 0 |  | NOx | 0.007
RES share of elec. prod. | 72.3 | percent |  |  |  | Hydro Power | 425 | 14 | 5 |  | 0 |  |  |  |  | CH4 | 0.007
RES electricity prod. | 3.24 | PWh/year |  |  |  | Hydro Storage | 0 | 0 | 0 |  |  | 28 | 3 | 0 |  | N2O | 0.007
[6 empty] | Hydro Pump | 0 | 0 | 0 |  | 0
ANNUAL FUEL CONSUMPTIONS (PWh/year) | TOTAL: | HOUSEHOLDS: |  |  |  | Nuclear | 691 | 30 | 10 |  |  | 0 | 0 | 0
Fuel Consumption (total) | 12.41 |  |  |  |  | Geothermal Electr. | 0 | 0 | 0 |  | 0
CAES Fuel Consumption | 0 |  |  |  |  | Electrolyser | 9 | 1 | 0 |  |  | 0 | 0 | 0
Fuel(incl.Biomass excl.RES) | 9.42 |  |  |  |  | Hydrogen Storage | 2 | 0 | 0 |  | 0
Fuel Consumption (incl. H2) | 12.47 |  |  |  |  | Charge el1 storage | 0 | 0 | 0 |  |  | 0 | 0 | 0
Fuel Consumption (corrected) | 12.37 |  |  |  |  | Discharge el1 storage | 0 | 0 | 0 |  | 0
Coal Consumption | 0.26 | 0 |  |  |  | El1 storage cap | 103 | 3 | 1 |  |  | 0 | 0 | 0
Oil Consumption | 2.61 | 0.01 |  |  |  | Indv. boilers | 611 | 41 | 42 |  | 0
Ngas Consumption | 2.54 | 0.96 |  |  |  | Indv. CHP | 0 | 0 | 0 |  |  | 0 | 0 | 0
Biomass Consumption | 2.23 | 0.19 |  |  |  | Indv. Heat Pump | 679 | 49 | 32 |  | 0
Nuclear Fuel Consumption | 1.79 |  |  |  |  | Indv. Electric heat | 35 | 2 | 0 |  |  | 0 | 0 | 0
Waste Input | 0.34 |  |  |  |  | Indv. Solar thermal | 0 | 0 | 0 |  | 0
V2G Pre Load Hours | 1 |  |  |  |  | BioGas Upgrade | 12 | 1 | 0 |  |  | 0 | 0 | 0
[6 empty] | Gasification Upgrade | 0 | 0 | 0 |  | 0
ANNUAL COSTS (B EUR) | TOTAL: | VARIABLE: | BREAKDOWN: |  |  | DHP Boiler group 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
Fuel ex. Ngas exchange |  | 247 |  |  |  | Waste CHP | 69 | 4 | 2 |  | 0
Coal |  |  | 3 |  |  | Absorp. HP (Waste) | 0 | 0 | 0 |  |  | 0 | 0 | 0
FuelOil |  |  | 7 |  |  | Biogas Plant | 82 | 6 | 12 |  | 0
Gasoil/Diesel |  |  | 79 |  |  | Gasification Plant | 0 | 0 | 0 |  |  | 0 | 0 | 0
Petrol/JP |  |  | 76 |  |  | BioDiesel Plant | 45 | 3 | 3 |  | 0
Gas handling |  |  | 12 |  |  | BioPetrol Plant | 0 | 0 | 0 |  |  | 0 | 0 | 0
Biomass |  |  | 59 |  |  | BioJPPlant | 11 | 1 | 1 |  | 0
Food income |  |  | 0 |  |  | Tidal Power | 0 | 0 | 0 |  |  | 0 | 0 | 0
Waste |  |  | 0 |  |  | CSP Solar Power | 0 | 0 | 0 |  | 0
[6 empty] | Carbon Recycling | 18 | 1 | 1 |  |  | 0 | 0 | 0
Ngas Exchange costs |  | 60 |  |  |  | Methanation | 0 | 0 | 0 |  | 0
[6 empty] | Liquidation + JP | 0 | 0 | 0 |  |  | 0 | 0 | 0
Marginal operation costs |  | 4 |  |  |  | Desalination Plant | 0 | 0 | 0 |  | 0
[6 empty] | Water storage | 0 | 0 | 0 |  |  | 0 | 0 | 0
Electricity exchange |  | 0 |  |  |  | Gas Storage | 0 | 0 | 0 |  | 0
Import |  |  | 0 |  |  | Oil Storage | 0 | 0 | 0 |  |  | 0 | 0 | 0
Export |  |  | -7 |  |  | Methanol Storage | 0 | 0 | 0 |  | 0
Bottleneck |  |  | 7 |  |  | Interconnection | 0 | 0 | 0 |  |  | 0 | 0 | 0
Fixed imp/exp |  |  | 0 |  |  | Geothermal Heat | 22 | 1 | 0
[6 empty] | Indust. Excess Heat | 0 | 0 | 0
CO2 emission costs |  | 56 |  |  |  | Indust. CHP Electr. | 0 | 0 | 0
[6 empty] | Indust. CHP Heat | 0 | 0 | 0
Variable costs | 368 |  |  |  |  | Electr Boiler Gr 2+3 | 0 | 0 | 0
Fixed operation costs | 302 |  |  |  |  | Bicycles | 0 | 0 | 0
[6 empty] | Motorbikes | 0 | 0 | 0
Annual Investment costs | 1355 |  |  |  |  | Electric Cars | 0 | 0 | 0
[6 empty] | Conventional Cars | 0 | 0 | 0
TOTAL ANNUAL COSTS | 2024 |  |  |  |  | DME Buses | 0 | 0 | 0
[6 empty] | Diesel Buses | 0 | 0 | 0
[6 empty] | DME Trucks | 0 | 0 | 0
[6 empty] | Diesel Trucks | 0 | 0 | 0
[6 empty] | Charge el2 storage | 0 | 0 | 0
[6 empty] | Discharge el2 storage | 0 | 0 | 0
[6 empty] | El2 storage cap | 167 | 11 | 0
| Electr. | Elec.dem | Fixed | DH | Wind | Offshore | PV | River | Tidal | Wave | Offshore | CSP2 | CSP2 | CSP2 | Hydro | Hydro | Hydro | Hydro | Hydro | Solar | CSHP 1 | Waste 1 | Boiler 1 | Solar 1 | Sol1 Str | CSHP 2 | Waste 2 | Geoth 2 | Geoth 2 | Geoth 2 | CHP 2 | HP 2 | Boiler 2 | EH 2 | ELT 2 | Solar2 | Sol2 Str | Storage2 | Balance2 | CSHP 3 | Waste 3 | Geoth 3 | Geoth 3 | Geoth 3 | CHP 3 | HP 3 | Boiler 3 | EH 3 | ELT 3 | Solar3 | Sol3 Str | Storage3 | Balance3 | Flexible | HP | CSHP | CHP | PP | PP2 | Nuclear | Geother. | Pump | Turbine | Pumped | Pump2 | Turbine2 | Pumped2 | Rock in | Rock out | Rock str | ELT 2 | ELT 2 H2 | ELT 3 | ELT 3 H2 | V2G | V2G | V2G | V2G | H2 | H2 | CO2Hydro | NH3Hydro | CO2Hydro | NH3Hydro | HH-CHP | HH-HP | HH-HP/EB | HH-EB | HH-H2 | HH-H2 | HH-H2 | HH Dem. | HH CHP+HP | HH Boil. | HH Solar | HH Store | HH Balan | Stabil. | Import | Export | CEEP | EEEP | ExMarket | ExMarket | System | InMarket | Btl-neck | Import | Export | Blt-neck | Add-exp | Boilers | CHP2+3 | PP | Indi- | Transp. | Indust. | Demand | Biogas | Syngas | CO2HyGas | SynHyGas | SynFuel | Storage | Storage | Sum | Import | Export | FreshW | FreshW | SaltW | Brine | Brine | Desal.Pl | FWPump | Turbine | Pump | CoolGr1 | CoolGr2 | CoolGr3 | Cool-El | CoolGr1 | CoolGr2 | CoolGr3 | Cooling | Cooling | Cooling | Cooling | Ammonia | H2 | H2 | H2 | H2 | H2
| Demand | Cooling | Exp/Imp | Demand | Electr. | Electr. | Electr. | Electr. | Electr. | Electr. | Electr. | Electr. | Storage | loss | Electr. | pump | storage | Wat-Sup | Wat-Loss | Heat | Heat | Heat | Heat | Heat | Heat | Heat | Heat | Heat | Steam | Storage | Heat | Heat | Heat | Heat | Heat | Heat | Heat | Heat | Heat | Heat | Heat | Heat | Steam | Storage | Heat | Heat | Heat | Heat | Heat | Heat | Heat | Heat | Heat | Electr. | Electr. | Electr. | Electr. | Electr. | Electr. | Electr. | Electr. | Electr. | Electr. | Storage | Electr. | Electr. | Storage | Electr. | Steam | Storage | Electr. | ELT 2 | Electr. | ELT 3 | Demand | Charge | Discha. | Storage | Electr. | Storage | Electr. | Electr. | liq.fuel | Ammonia | Electr. | Electr. | Electr. | Electr. | Electr. | Storage | Prices | Heat | Heat | Heat | Heat | Heat | Heat | Load | Electr. | Electr. | Electr. | Electr. | Prices | Prod | Prices | Prices | Prices | Payment | Payment | Payment | Payment |  |  | CAES | vidual |  | Various | Sum | [6 empty] | Content |  | Gas | Gas | Demand | Storage | Demand | Prod. | Storage | Electr. | Electr. | Electr. | Electr. | Demand | Demand | Demand | Demand | Natural | Natural | Natural | DHgr1 | DHgr2 | DHgr3 | Electr. | Storage | demand | prod. | import | export | balance
TOTAL FOR ONE YEAR (PWh/year):
Annual: | 3.28 | 0 | 0 | 0.43 | 1.24 | 0.68 | 0.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38 | 0 | 0 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.08 | 0 | 0 | 0 | 0 | 0.24 | 0.01 | 0.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45 | 0.27 | 0.12 | 0.24 | 0.53 | 0 | 0.69 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28 | 0.36 | 0.04 | 0 | 0.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27 | 0 | 0.08 | 0 | 0 | 0 | 2 | 0.81 | 1.1 | 0 | 0 | 0 | Percent | 0 | 0.02 | 0.02 | 0 | 1.99 | 0 | 0 | 1.99 | 0 | 0 | 7 | -7 | 0 | 0.08 | 0.39 | 0.72 | 0.96 | 0.16 | 0.64 | 2.96 | 0.42 | 0 | 0 | 0 | 0 | 0 | 0 | 2.54 | 2.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 0
MONTHLY AVERAGE VALUES (GW):
January | 423 | 0 | 0 | 78 | 189 | 99 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 46 | 1 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 56 | 13 | 46 | 84 | 0 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 36 | 1 | 171 | 8 | 34 | 0 | 0 | 0 | 0 | 0 | 55 | 0 | 17 | 0 | 0 | 0 | 407 | 166 | 224 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 265 | 0 | 0 | 265 | 0 | 0 | 0 | 0 | 0 | 18 | 76 | 114 | 196 | 18 | 73 | 495 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 448 | 448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
February | 428 | 0 | 0 | 80 | 167 | 84 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 58 | 1 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 57 | 13 | 58 | 110 | 0 | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 37 | 0 | 29 | 9 | 5 | 0 | 0 | 0 | 0 | 0 | 57 | 0 | 18 | 0 | 0 | 0 | 421 | 172 | 232 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 213 | 0 | 0 | 213 | 0 | 0 | 0 | 0 | 0 | 10 | 97 | 150 | 203 | 18 | 73 | 551 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 503 | 503 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
March | 396 | 0 | 0 | 66 | 158 | 82 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 42 | 1 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 46 | 13 | 42 | 90 | 0 | 83 | 0 | 1 | 0 | 38 | 1 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 40 | 1 | 388 | 9 | 22 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 14 | 0 | 0 | 0 | 335 | 137 | 184 | 0 | 0 | 0 | 100 | 0 | 3 | 3 | 0 | 216 | 0 | 0 | 216 | 0 | 0 | 1 | -1 | 0 | 12 | 70 | 123 | 161 | 18 | 73 | 457 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 409 | 409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
April | 355 | 0 | 0 | 53 | 122 | 57 | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 36 | 1 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 35 | 13 | 36 | 89 | 0 | 74 | 0 | 0 | 1 | 20 | 0 | 1 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 36 | 5 | 245 | 8 | 11 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 11 | 0 | 0 | 0 | 256 | 104 | 141 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 237 | 0 | 0 | 237 | 0 | 0 | 0 | 0 | 0 | 6 | 60 | 122 | 124 | 18 | 73 | 403 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 355 | 355 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
May | 341 | 0 | 0 | 39 | 137 | 76 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 74 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 15 | 1 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 24 | 13 | 15 | 16 | 0 | 68 | 0 | 2 | 1 | 225 | 2 | 1 | 249 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 50 | 8 | 1500 | 9 | 76 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 7 | 0 | 0 | 0 | 172 | 70 | 95 | 0 | 0 | 0 | 100 | 0 | 15 | 15 | 0 | 250 | 0 | 0 | 250 | 0 | 0 | 4 | -4 | 0 | 12 | 25 | 22 | 83 | 18 | 73 | 232 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
June | 348 | 0 | 0 | 21 | 113 | 60 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77 | 0 | 0 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 6 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 8 | 13 | 6 | 21 | 0 | 72 | 0 | 1 | 1 | 136 | 0 | 1 | 201 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 44 | 10 | 1034 | 8 | 58 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 2 | 0 | 0 | 0 | 59 | 24 | 32 | 0 | 0 | 0 | 100 | 0 | 6 | 6 | 0 | 218 | 0 | 0 | 218 | 0 | 0 | 1 | -1 | 0 | 4 | 10 | 29 | 28 | 18 | 73 | 163 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 115 | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
July | 356 | 0 | 0 | 21 | 123 | 64 | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88 | 0 | 0 | 93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 5 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 8 | 13 | 5 | 9 | 0 | 72 | 0 | 2 | 1 | 156 | 2 | 1 | 212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 50 | 12 | 1445 | 8 | 95 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 2 | 0 | 0 | 0 | 59 | 24 | 32 | 0 | 0 | 0 | 100 | 0 | 9 | 9 | 0 | 153 | 0 | 0 | 153 | 0 | 0 | 1 | -1 | 0 | 5 | 8 | 12 | 28 | 18 | 73 | 144 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
August | 338 | 0 | 0 | 21 | 104 | 57 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 7 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 8 | 13 | 7 | 36 | 0 | 72 | 0 | 1 | 0 | 18 | 1 | 1 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 44 | 7 | 637 | 9 | 45 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 3 | 0 | 0 | 0 | 60 | 24 | 33 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 216 | 0 | 0 | 216 | 0 | 0 | 0 | 0 | 0 | 4 | 11 | 49 | 29 | 18 | 73 | 183 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 136 | 136 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
September | 353 | 0 | 0 | 36 | 120 | 67 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 0 | 0 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 20 | 1 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 20 | 13 | 20 | 62 | 0 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 41 | 5 | 217 | 8 | 23 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 6 | 0 | 0 | 0 | 148 | 60 | 82 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 243 | 0 | 0 | 243 | 0 | 0 | 0 | 0 | 0 | 5 | 33 | 85 | 71 | 18 | 73 | 285 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 238 | 238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
October | 368 | 0 | 0 | 49 | 107 | 66 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 34 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 31 | 13 | 34 | 100 | 0 | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 35 | 0 | 8 | 9 | 2 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 10 | 0 | 0 | 0 | 229 | 93 | 126 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 241 | 0 | 0 | 241 | 0 | 0 | 0 | 0 | 0 | 4 | 57 | 137 | 110 | 18 | 73 | 399 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 352 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
November | 391 | 0 | 0 | 56 | 173 | 104 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 26 | 1 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 37 | 13 | 26 | 52 | 0 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 40 | 4 | 381 | 9 | 54 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 11 | 0 | 0 | 0 | 271 | 111 | 149 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 228 | 0 | 0 | 228 | 0 | 0 | 0 | 0 | 0 | 16 | 44 | 71 | 131 | 18 | 73 | 351 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 304 | 304 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
December | 385 | 0 | 0 | 63 | 176 | 114 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 30 | 1 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 43 | 13 | 30 | 53 | 0 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 38 | 2 | 326 | 9 | 42 | 0 | 0 | 0 | 0 | 0 | 43 | 0 | 13 | 0 | 0 | 0 | 315 | 128 | 173 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 241 | 0 | 0 | 241 | 0 | 0 | 0 | 0 | 0 | 19 | 49 | 72 | 152 | 18 | 73 | 383 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 335 | 335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
Annual Average | 373 | 0 | 0 | 48 | 141 | 78 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 0 | 0 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 27 | 1 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 31 | 13 | 27 | 60 | 0 | 79 | 0 | 1 | 0 | 50 | 0 | 0 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 41 | 5 | 535 | 9 | 39 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 9 | 0 | 0 | 0 | 227 | 93 | 125 | 0 | 0 | 0 | 100 | 0 | 3 | 3 | 0 | 227 | 0 | 0 | 227 | 0 | 238 | 298 | - | 0 | 10 | 45 | 82 | 109 | 18 | 73 | 336 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 289 | 289 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
Annual Maximum | 531 | 0 | 0 | 100 | 310 | 140 | 306 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 154 | 0 | 0 | 167 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 86 | 2 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 74 | 13 | 86 | 432 | 0 | 95 | 0 | 59 | 59 | 590 | 139 | 139 | 556 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 327 | 63 | 3000 | 18 | 144 | 0 | 0 | 0 | 0 | 0 | 74 | 0 | 23 | 0 | 0 | 0 | 543 | 221 | 298 | 1 | 0 | 0 | 100 | 0 | 323 | 323 | 0 | 7098 | 0 | 0 | 7098 | 0 | 0 | 152 | 0 | 0 | 63 | 144 | 588 | 261 | 18 | 73 | 1029 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 982 | 982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 14 | 0 | 0 | 0
Annual Minimum | 78 | 0 | 0 | 21 | 45 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 27 | 8 | 13 | 0 | 1 | 0 | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | -11 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 2 | 0 | 0 | 0 | 59 | 23 | 32 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -152 | 0 | 0 | 0 | 1 | 28 | 18 | 73 | 129 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0

## Input_file
EnergyPLAN version
16.0
EnergyUnit=
PWh/year
CapacityUnit=
GW
MonetaryUnit=
EUR
Input_el_demand_Twh=
2.11538857251534
Input_El_demand_elec_heating_share=
0
Input_El_demand_cooling_share=
0
input_dh_demand_TWh=
0
input_RES1_capacity=
440.867
input_RES2_capacity=
142.859
input_RES1_factor=
0
input_RES2_factor=
0
input_RES3_capacity=
441.49
input_RES3_factor=
0
input_RES4_capacity=
0
input_RES4_factor=
0
NameRES1=
Wind
NameRES2=
Offshore Wind
NameRES3=
Photo Voltaic
NameRES4=
River Hydro
input_dh_ann_gr1=
0
input_dh_ann_gr2=
0
input_dh_ann_gr3=
0.425168712654063
input_solar_ann_gr1=
0
input_solar_ann_gr2=
0
input_solar_ann_gr3=
0
input_cshp_th_gr1=
0
input_cshp_th_gr2=
0
input_cshp_th_gr3=
0
input_AddExport_TWh=
0
input_flexible_day_TWh=
0.235043174723926
input_flexible_week_TWh=
0
input_flexible_4weeks_TWh=
0
input_flexible_day_max=
24.96
input_flexible_week_max=
1
input_flexible_4weeks_max=
1
input_cshp_el_gr1=
0
input_cshp_el_gr2=
0
input_cshp_el_gr3=
0
input_cshp_el_gr3=
0
Filnavn_elbehov=
EU28 Electricity demand.txt
Filnavn_individual_heatdemand=
EU28 Individual heat demand0.5.txt
Filnavn_cooling_demand=
Hour_CoolingDemand.txt
Filnavn_individual_solar=
EU28 Solar thermal.txt
Filnavn_dh=
EU28 District heating demand0.5.txt
input_button_add_subtract=
No
input_button_add2=
No
Filnavn_AddExport=
Hour_Tysklandsexport.txt
Filnavn_wind=
Offshore_Europe_2050.txt
Filnavn_wave=
Onshore_Europe_2050.txt
Filnavn_solar=
EU28 Solar thermal.txt
Filnavn_cshp=
Hour_cshpel.txt
Filnavn_pv=
Solar_PV_Europe_2050.txt
Filnavn_RES4=
Hour_solar_prod1.txt
filnavn_hydro_water=
AUT_reservoir_2015.txt
filnavn_nuclear=
EU28 Nuclear.txt
input_transport_TWh=
0.21
input_transport_TWh_V2G=
0.31
Filnavn_transport=
EU28 Transport demand.txt
Filnavn_transport_V2G=
EU28 Transport demand.txt
Filnavn_transport_H2=
EU28 Transport demand.txt
input_km_diesel=
1.5
input_km_ngas=
1.5
input_km_biomass=
1.5
input_km_h2=
3
input_km_ev=
5
input_km_v2g=
5
input_V2G_MaxShare=
0.2
input_V2G_Cap_Charge=
1800
input_V2G_ConnectionShare=
0.7
input_V2G_Eff_Charge=
0.9
input_V2G_Eff_Inv=
0.9
input_V2G_Battery=
3
input_V2G_Cap_Inv=
90
input_cap_chp2_el=
0
input_eff_chp2_el=
0.4
input_eff_chp2_th=
0.5
input_cap_hp2_el=
0
input_eff_hp2_cop=
3
input_cap_boiler2_th=
0
input_eff_boiler2_th=
0.9
input_cap_chp3_el=
86.4005
input_eff_chp3_el=
0.45
input_eff_chp3_th=
0.45
input_cap_hp3_el=
0.451666666666667
input_eff_hp3_cop=
4
input_cap_boiler3_th=
233.281333333333
input_eff_boiler3_th=
0.945
input_cap_pp_el=
585
input_hydro_cap=
154
input_hydro_eff=
0.95
input_hydro_watersupply=
0.395789473684211
input_hydro_storage=
0
input_hydro_pump_cap=
0
input_hydro_pump_eff=
0.9
input_nuclear_cap=
87
input_nuclear_eff=
0.386
input_eff_pp_el=
0.55
input_eff_dhp_th=
0.9
input_storage_gr2_cap=
0
input_storage_gr3_cap=
0
input_FixedBoiler2=
0
input_FixedBoiler3=
0
input_regulation=
2
input_marketmodel=
1
input_chpgr3_cap_minimum=
0
input_hp_maxload=
0.5
input_imp_reg_fac=
0
input_exp_pp_reg_fac=
9999
input_exp_chp_reg_fac=
9999
Filnavn_prices=
Hour_nordpool.txt
input_exp_hp_reg_fac=
9999
input_max_imp_exp=
0
input_lost_value=
0
input_nordpool_add_fac=
0
input_nordpool_mult_fac=
2
input_keol_reg=
000000000
input_depend_fac=
0
input_import_bottleneck_addprice_factor=
150
input_stabilisation_share_min=
0
input_stabilisation_share_chp2=
0
input_RES1_stab_share=
0
input_RES2_stab_share=
0
input_RES3_stab_share=
0
input_RES4_stab_share=
0
input_fuel_dhp[1]=
0
input_fuel_dhp[2]=
0
input_fuel_dhp[3]=
0
input_fuel_dhp[4]=
0
input_fuel_chp2[1]=
0
input_fuel_chp2[2]=
0
input_fuel_chp2[3]=
0
input_fuel_chp2[4]=
0
input_fuel_chp3[1]=
0
input_fuel_chp3[2]=
0
input_fuel_chp3[3]=
0.75
input_fuel_chp3[4]=
0.25
input_fuel_Boiler2[1]=
0
input_fuel_Boiler2[2]=
0
input_fuel_Boiler2[3]=
0
input_fuel_Boiler2[4]=
0
input_fuel_Boiler3[1]=
0
input_fuel_Boiler3[2]=
0
input_fuel_Boiler3[3]=
0.75
input_fuel_Boiler3[4]=
0.25
input_fuel_PP[1]=
0
input_fuel_PP[2]=
0
input_fuel_PP[3]=
0.75
input_fuel_PP[4]=
0.25
input_fuel_Transport[1]=
0.73
input_fuel_Transport[2]=
1.17
input_fuel_Transport[3]=
0.16
input_fuel_Transport[4]=
0
input_fuel_Transport[6]=
0.06
input_VC_boiler_dh=
3.4
input_VC_chp_dh=
3.052
input_VC_hp_dh=
3.9
input_VC_pp=
2.73743677680345
input_VC_hydro=
4
Input_VC_eh_dh=
1
input_VC_geothermal=
0
input_VC_electrolyser=
0
input_VC_pump=
0
input_VC_turbine=
0
input_VC_boiler_indv=
0
input_VC_chp_indv=
0
input_VC_hp_indv=
0
input_VC_eh_indv=
0
input_fuel_Households[1]=
0
input_fuel_Households[2]=
0.00809260076927802
input_fuel_Households[3]=
0.96128536280781
input_fuel_Households[4]=
0.186939077770322
input_HH_coalboiler_eff=
0.97
input_HH_oilboiler_eff=
0.97
input_HH_ngasboiler_eff=
0.98
input_HH_bioboiler_eff=
0.79
input_HH_H2CHP_eff_th=
0.98
input_HH_NgasCHP_eff_th=
0.5
input_HH_BioCHP_eff_th=
0.5
input_HH_H2CHP_heat=
0
input_HH_NgasCHP_heat=
0
input_HH_H2CHP_solar=
0
input_HH_NgasCHP_solar=
0
input_HH_BioCHP_solar=
0
input_HH_HP_solar=
0.00151111111111111
input_HH_EB_solar=
0
input_HH_BioCHP_heat=
0
input_HH_HP_heat=
0.814809288883878
input_HH_EB_heat=
0.0832381793411453
input_HH_H2CHP_eff_el=
0
input_HH_NgasCHP_eff_el=
0
input_HH_BioCHP_eff_el=
0
input_HH_HP_COP=
3
input_HH_H2CHP_storage=
0
input_HH_NgasCHP_storage=
0
input_HH_BioCHP_storage=
0
input_HH_HP_storage=
0
input_HH_EB_storage=
0
input_HH_H2CHP_CapLimit=
1
input_HH_NgasCHP_CapLimit=
1
input_HH_BioCHP_CapLimit=
1
input_HH_HP_CapLimit=
1
input_fuel_CSHP[1]=
0.263656535569486
input_fuel_CSHP[2]=
0.178999421223215
input_fuel_CSHP[3]=
0.638145723792794
input_fuel_CSHP[4]=
0.446091281573094
input_fuel_Various[1]=
0
input_fuel_Various[2]=
0
input_fuel_Various[3]=
0
input_fuel_Various[4]=
0
input_fuel_CO2[1]=
95
input_fuel_CO2[2]=
74
input_fuel_CO2[3]=
56.7
input_fuel_price[1]=
2.9
input_fuel_price[2]=
10.4
input_fuel_price[3]=
6.6
input_fuel_price[4]=
6.6
input_Handling_Cen[1]=
0.18
input_Handling_Cen[2]=
0.3
input_Handling_Cen[3]=
0.27
input_Handling_Cen[4]=
3.66
input_Handling_Dec[1]=
0
input_Handling_Dec[2]=
1.18
input_Handling_Dec[3]=
0.86
input_Handling_Dec[4]=
3.95
input_Handling_Indv[1]=
0
input_Handling_Indv[2]=
3.3
input_Handling_Indv[3]=
2.19
input_Handling_Indv[4]=
6.45
input_fuel_price[6]=
14.9
input_Handling_Transp[2]=
3.3
input_Handling_Transp[3]=
1.59
input_Handling_Transp[4]=
0
input_Tax_Indv[1]=
0
input_Tax_Indv[2]=
0
input_Tax_Indv[3]=
0
input_Tax_Indv[4]=
0
input_Tax_Indu[1]=
0
input_Tax_Indu[2]=
0
input_Tax_Indu[3]=
0
input_Tax_Indu[4]=
0
input_Tax_Boiler[1]=
0
input_Tax_Boiler[2]=
0
input_Tax_Boiler[3]=
0
input_Tax_Boiler[4]=
0
input_Tax_CHP[1]=
0
input_Tax_CHP[2]=
0
input_Tax_CHP[3]=
0
input_Tax_CHP[4]=
0
input_CO2_price=
42
input_Maintain_price=
0
Input_Button_Price=
No
Input_Button_Coal=
Variable
Input_Button_oil=
Variable
Input_Button_Ngas=
Variable
Input_Button_Biomass=
Variable
input_fuel_pp[6]=
0
input_fuel_chp2[6]=
0
input_fuel_Boiler2[6]=
0
input_fuel_pp2[6]=
0
input_fuel_chp3[6]=
0
input_fuel_Boiler3[6]=
0
input_cap_ELTtrans_el=
18
input_eff_ELTtrans_fuel=
0.8
input_cap_eltCHPindv_el=
0
input_eff_eltCHPindv_fuel=
0.642
input_cap_pump_el=
58.994
input_eff_pump_el=
0.8
input_cap_turbine_el=
58.994
input_eff_turbine_el=
0.8
input_fuel_dhp[6]=
0
input_H2storage_gr3_cap=
0
input_H2storage_trans_cap=
0.144
input_H2storage_CHPindv_cap=
0
input_storage_pump_cap=
0.58994
input_CAES_fuel_ratio=
0
TS_input[1]=
0
TS_input[2]=
0
TS_input[3]=
0
TS_input[4]=
0
TS_input[5]=
0
TS_input[6]=
0
TS_input[7]=
0
TS_input[8]=
0
TS_input[9]=
0
Input_Cooling_el_demand=
0
Input_Cooling_DHgr1_Heatdemand=
0
Input_Cooling_DHgr2_Heatdemand=
0
Input_Cooling_DHgr3_Heatdemand=
0
Input_Cooling_el_eff=
2
Input_Cooling_DHgr1_eff=
2
Input_Cooling_DHgr2_eff=
2
Input_Cooling_DHgr3_eff=
2
Input_Tax_eh_dh=
0
Input_Tax_hp_dh=
0
Input_Tax_elt_dh=
0
Input_Tax_eh_indv=
0
Input_Tax_hp_indv=
0
Input_Tax_elt_indv=
0
Input_Tax_cars_indv=
0
input_Interest=
3
input_Inv_solar_dh=
325
input_Period_solar_dh=
30
input_FOM_solar_dh=
0
input_Inv_CHP2=
0
input_Period_CHP2=
0
input_FOM_CHP2=
0
input_Inv_HP2=
0
input_Period_HP2=
0
input_FOM_HP2=
0
input_Inv_Heatstorage2=
3
input_Period_Heatstorage2=
20
input_FOM_Heatstorage2=
0.5
input_Inv_CHP3=
1.35
input_Period_CHP3=
25
input_FOM_CHP3=
3.3
input_Inv_HP3=
2.128
input_Period_HP3=
2
input_FOM_HP3=
0.3
input_Inv_Heatstorage3=
52
input_Period_Heatstorage3=
30
input_FOM_Heatstorage3=
0
input_Inv_Boilers_dh=
0.2275
input_Period_Boilers_dh=
25
input_FOM_Boilers_dh=
3.55
input_Inv_PP=
1.35
input_Period_PP=
25
input_FOM_PP=
3.3
input_Inv_Wind=
0.963
input_Period_Wind=
27
input_FOM_Wind=
1.3
input_Inv_WindOffshore=
1.777
input_Period_WindOffshore=
27
input_FOM_WindOffshore=
1.9
input_Inv_PV=
0.345
input_Period_PV=
30
input_FOM_PV=
2.5
input_Inv_Wave=
0
input_Period_Wave=
0
input_FOM_Wave=
0
input_Inv_RiverOffHydro=
0
input_Period_RiverOffHydro=
0
input_FOM_RiverOffHydro=
0
input_Inv_HydroPower=
2.76
input_Period_HydroPower=
80
input_FOM_HydroPower=
1.15
input_Inv_HydroStorage=
7.5
input_Period_HydroStorage=
50
input_FOM_HydroStorage=
1.5
input_Inv_HydroPump=
0
input_Period_HydroPump=
50
input_FOM_HydroPump=
1.5
input_Inv_Nuclear=
7.94
input_Period_Nuclear=
40
input_FOM_Nuclear=
1.4
input_Inv_Geothermal=
5.53
input_Period_Geothermal=
30
input_FOM_Geothermal=
1.4
input_Inv_Electrolyser=
0.5
input_Period_Electrolyser=
25
input_FOM_Electrolyser=
5
input_Inv_HydrogenStorage=
15.06
input_Period_HydrogenStorage=
48
input_FOM_HydrogenStorage=
1.37
input_Inv_Pump=
0
input_Period_Pump=
0
input_FOM_Pump=
0
input_Inv_Turbine=
0
input_Period_Turbine=
0
input_FOM_Turbine=
0
input_Inv_PumpStorage=
175
input_Period_PumpStorage=
80
input_FOM_PumpStorage=
1
input_Inv_Boilers_indv=
3.34
input_Period_Boilers_indv=
20
input_FOM_Boilers_indv=
6.87
input_Inv_CHP_indv=
2.68
input_Period_CHP_indv=
20
input_FOM_CHP_indv=
0.1
input_Inv_HP_indv=
5
input_Period_HP_indv=
18
input_FOM_HP_indv=
4.72
input_Inv_EB_indv=
2.5
input_Period_EB_indv=
30
input_FOM_EB_indv=
0.84
input_Inv_Various1=
53.53
input_Period_Various1=
25
input_FOM_Various1=
2.47
input_Inv_Various2=
3.95
input_Period_Various2=
0
input_FOM_Various2=
0
input_Inv_Various3=
0
input_Period_Various3=
0
input_FOM_Various3=
0
input_HH_coalboiler_SolarShare=
1
input_HH_oilboiler_SolarShare=
1
input_HH_ngasboiler_SolarShare=
1
input_HH_bioboiler_SolarShare=
1
input_HH_H2CHP_SolarShare=
1
input_HH_NgasCHP_SolarShare=
1
input_HH_BioCHP_SolarShare=
1
input_HH_HP_SolarShare=
1
input_HH_EB_SolarShare=
1
input_HH_coalboiler_Solar=
0
input_HH_oilboiler_Solar=
0
input_HH_ngasboiler_Solar=
0
input_HH_bioboiler_Solar=
0
Input_HH_coalboiler_Storage=
0
Input_HH_oilboiler_Storage=
0
Input_HH_Ngasboiler_Storage=
0
Input_HH_Bioboiler_Storage=
0
input_solar_storage_gr1=
0
input_solar_storage_gr2=
0
input_solar_storage_gr3=
0
input_solar_share_gr1=
1
input_solar_share_gr2=
1
input_solar_share_gr3=
1
input_solar_loss_gr1=
0
input_solar_loss_gr2=
0
input_solar_loss_gr3=
0
input_VC_V2G=
0
input_Tax_CAES=
0
input_VC_HydroPump=
0
input_Tax_PumpCAES=
0
input_Inv_solar_indv=
0
input_Period_solar_indv=
0
input_FOM_solar_indv=
0
input_Period_Various4=
0
input_FOM_Various4=
0
input_Inv_Various4=
0
input_Period_Various5=
0
input_FOM_Various5=
0
input_Inv_Various5=
0
input_Period_Various6=
13
input_FOM_Various6=
1.41
input_Inv_Various6=
10605
input_fuel_price_alt1[1]=
0
input_fuel_price_alt1[2]=
0
input_fuel_price_alt1[3]=
0
input_fuel_price_alt1[4]=
0
input_fuel_price_alt2[1]=
0
input_fuel_price_alt2[2]=
0
input_fuel_price_alt2[3]=
0
input_fuel_price_alt2[4]=
0
input_km_petrol=
1.5
input_fuel_price[5]=
15
input_fuel_price_alt1[5]=
0
input_fuel_price_alt2[5]=
0
input_fuel_price_alt1[6]=
0
input_fuel_price_alt2[6]=
0
input_Handling_Transp[5]=
3.76
input_Handling_Transp[1]=
0.3
input_fuel_Transport[5]=
0.52
input_Period_Various7=
50
input_FOM_Various7=
0
input_Inv_Various7=
2217
input_Period_Various8=
10
input_FOM_Various8=
0
input_Inv_Various8=
27.5
input_Period_Various9=
0
input_FOM_Various9=
0
input_Inv_Various9=
0
input_Period_Various10=
0
input_FOM_Various10=
0
input_Inv_Various10=
0
input_fuel_CO2[9]=
32.5
input_fuel_price[9]=
0
input_Handling_Cen[9]=
0
input_Handling_Dec[9]=
0
input_Tax_Indu[9]=
0
input_Tax_Boiler[9]=
0
input_Tax_CHP[9]=
0
input_fuel_price_alt1[9]=
0
input_fuel_price_alt2[9]=
0
input_Waste1_Waste=
0
input_Waste2_Waste=
0
input_Waste3_Waste=
0.34064201183432
input_Waste1_Eff_th=
0.8
input_Waste2_Eff_th=
0.8
input_Waste3_Eff_th=
0
input_Waste1_Eff_el=
0
input_Waste2_Eff_el=
0
input_Waste3_Eff_el=
0.34
input_Waste1_Eff_biofueltrans=
0
input_Waste2_Eff_biofueltrans=
0
input_Waste3_Eff_biofueltrans=
0
input_Waste1_Eff_biofuelCHP=
0
input_Waste2_Eff_biofuelCHP=
0
input_Waste3_Eff_biofuelCHP=
0
input_Waste1_Eff_various=
0
input_Waste2_Eff_various=
0
input_Waste3_Eff_various=
0
input_Waste1_price_various=
0
input_Waste2_price_various=
0
input_Waste3_price_various=
0
input_km_waste=
1.5
input_eh2=
0
input_eh3=
0
input_cap_pp2_el=
0
input_eff_pp2_el=
0.45
input_fuel_PP2[1]=
0
input_fuel_PP2[2]=
0
input_fuel_PP2[3]=
0
input_fuel_PP2[4]=
0
input_RSC_Waste=
0
input_RSC_Coal=
0
input_RSC_Biomass=
0
input_RSC_eff_fuel_M1=
0.6
input_RSC_eff_elec_M1=
0.1
input_RSC_eff_th_M1=
0.2
input_RSC_eff_fuel_M2=
0.2
input_RSC_eff_elec_M2=
0.2
input_RSC_eff_th_M2=
0.5
input_VC_RSC_M1=
0
input_VC_RSC_M2=
0
Button_WasteVar=
1.Coal/2.Biomass
input_Waste2_eff_th_geo=
0
input_Waste3_eff_th_geo=
0
input_Waste2_eff_el_geo=
0
input_Waste3_eff_el_geo=
0
input_Waste2_eff_steam=
0
input_Waste3_eff_steam=
0
input_Waste2_cop_GeoHP_steam=
0
input_Waste3_cop_GeoHP_steam=
0
input_Waste2_cap_steamstorage=
0
input_Waste3_cap_steamstorage=
0
input_Waste2_loss_steamstorage=
0
input_Waste3_loss_steamstorage=
0
input_Waste2_cop_GeoHP_steamstorage=
0
input_Waste3_cop_GeoHP_steamstorage=
0
Input_Button_PumpHydro=
No
Filnavn_waste=
const.txt
TS_input[10]=
0
TS_input[11]=
0
input_stabilisation_share_waste=
0
Various1Text=
Substations
Various2Text=
DH grid
Various3Text=
Heat savings
Various4Text=
Services savings
Various5Text=
Industry savings
Various6Text=
Transport (road transport)
Various7Text=
Distribution grid
Various8Text=
0
Various9Text=
0
Various10Text=
0
input_Inv_Waste_CHP=
201.25
input_Period_Waste_CHP=
25
input_FOM_Waste_CHP=
2.3
input_Inv_absorp_HP=
0
input_Period_absorp_HP=
0
input_FOM_absorp_HP=
0
input_Biogas_elec=
0.0159
input_Biogas_dh1=
0
input_Biogas_dh2=
0
input_Biogas_dh3=
0
input_Biogas_prod=
0.4187
Filnavn_Biogas_elec=
const.txt
Filnavn_Biogas_dh=
const.txt
Filnavn_Biogas_prod=
const.txt
Input_V2GRegulation=
1
input_km_LPG=
1.5
input_fuel_Transport[9]=
0
input_pp_cap_minimum=
0.825
Input_Button_IndvHPStorage=
Not active
input_GeoPower_cap=
0
input_GeoPower_eff=
0.1
filnavn_GeoPower=
const.txt
Filnavn_Gasi_dh=
const.txt
Input_GasiElecShare=
0.01
Input_GasiDH3Share=
0.1
Input_GasiBiomassInput=
0
Input_GasiSteamShare=
0.13
Input_GasiSteamEff=
1.25
Input_GasiColdgasEff=
0.9
Input_GasiCapInput=
0
Input_GasiUpgradeEff=
1
Input_BiogasUpgradeEff=
1
Input_BiogasWetBiomassInput=
0.4187
Input_BiogasSolidBiomassInput=
0
Input_GasNetStorage=
0
Filnavn_Industry_Ngas=
const.txt
Filnavn_Transport_Ngas=
const.txt
input_button_BiogasBiomassOutput=
Biomass
input_Inv_Biogas=
196
input_Period_Biogas=
20
input_FOM_Biogas=
15
input_Inv_Gasi=
1.1
input_Period_Gasi=
20
input_FOM_Gasi=
1.47
input_fuel_price_alt1[10]=
0
input_fuel_price_alt2[10]=
0
input_fuel_price_alt1[11]=
0
input_fuel_price_alt2[11]=
0
input_fuel_price[10]=
8.8
input_fuel_price[11]=
0
input_Handling_BioCon[4]=
1.19
input_Handling_BioCon[10]=
0.91
input_Handling_BioCon[11]=
1.49
Filnavn_BioDiesel_Elec=
const.txt
Input_BioDieselInput=
0.11
Input_BioDieselElecShare=
0
Input_BioDieselShare=
0.4
Input_BioDieselBiomassShare=
0
input_HH_HP_StorageMaxCapLimit=
1
input_HH_HP_StorageMinCapLimit=
0.33
Filnavn_BioPetrol_dh=
const.txt
Input_BioPetrolElecShare=
0.01
Input_BioPetrolSteamShare=
0.12
Input_BioPetrolSteamEff=
1.25
Input_BioPetrolEff=
0.4
Input_BioPetrolFoodShare=
0.5
Input_BioPetrolFoodValue=
0
Input_BioPetrolDH3Share=
0.1
Input_BioPetrolInput=
0.07
input_stabilisation_share_V2G=
0
input_stabilisation_share_TransmissionLine=
0
Input_inv_BioDiesel=
1.45
Input_FOM_BioDiesel=
6.2
Input_Period_BioDiesel=
25
Input_Period_BioPetrol=
0
Input_FOM_BioPetrol=
0
Input_inv_BioPetrol=
0
Input_HeatPumpRegulation=
1
Filnavn_BioJP_dh=
const.txt
Input_BioJPElecShare=
0.01
Input_BioJPSteamShare=
0.12
Input_BioJPSteamEff=
1.25
Input_BioJPEff=
0.4
Input_BioJPFoodShare=
0
Input_BioJPFoodValue=
0
Input_BioJPDH3Share=
0
Input_BioJPInput=
0.02
Input_SynHydroSynGridGas=
0
Input_SynHydro_HydrogenShare=
0.36
Input_SynHydro_eff=
0.94
Input_SynHydro_MaxCapacity=
0
Input_CO2HydroMaxCapacity=
10
Input_CO2HydroSequestrationElecEff=
0.289
Input_CO2HydroSequestrationCO2Eff=
0.168
Input_CO2HydroSynGridGas=
0
Input_CO2HydroElectrolyserEff=
178.34
Input_SynDiesel=
0
Input_SynDiesel_eff=
0.86
Input_SynJP=
0
Input_SynJP_eff=
0.8
Input_SynPetrol=
0
Input_SynPetrol_eff=
1
input_GeoPower_factor=
1
input_Nuclear_factor=
1.09
input_fuel_price[12]=
1.75
input_fuel_price_alt1[12]=
0
input_fuel_price_alt2[12]=
0
input_fuel_CO2[8]=
59.64
input_fuel_price[8]=
0
input_fuel_price_alt1[8]=
0
input_fuel_price_alt2[8]=
0
Input_inv_BioJP=
1.776
Input_FOM_BioJP=
5.1
Input_Period_BioJP=
25
Input_inv_Tidal=
0
Input_FOM_Tidal=
0
Input_Period_Tidal=
0
Input_inv_CSP=
0
Input_FOM_CSP=
0
Input_Period_CSP=
0
Input_inv_CO2Hydro=
200
Input_FOM_CO2Hydro=
4.3
Input_Period_CO2Hydro=
20
Input_inv_SynHydro=
0.2
Input_FOM_SynHydro=
4
Input_Period_SynHydro=
25
Input_inv_SynFuel=
0.5
Input_FOM_SynFuel=
4
Input_Period_SynFuel=
25
Input_inv_BiogasUpgrade=
0.25
Input_FOM_BiogasUpgrade=
2.5
Input_Period_BiogasUpgrade=
15
Input_inv_GasificationUpgrade=
0
Input_FOM_GasificationUpgrade=
0
Input_Period_GasificationUpgrade=
0
Input_SynMethanSynGridGas=
0
Input_SynMethan_HydrogenShare=
0.502
Input_SynMethan_eff=
0.8298
Input_SynMethan_MaxCapacity=
0
Input_NaturalCooling_DHgr1=
0
Input_NaturalCooling_DHgr2=
0
Input_NaturalCooling_DHgr3=
0
Filnavn_naturalcooling_demand=
Hour_distr-heat.txt
Input_CO2Hydro_DHgr2_Share=
0
Input_CO2Hydro_DHgr3_Share=
0
Input_TransElt_DHgr2_Share=
0
Input_TransElt_DHgr3_Share=
0.015
Input_CO2HydroHydrogenRatio=
1.089
Filnavn_Freshwater=
const.txt
FreshWaterDemand=
0
input_FreshWaterStorageCapacity=
0
input_FreshWaterPumpEfficiency=
0.85
input_FreshWaterPumpCapacity=
0
input_DesalinationPlantCapacity=
0
input_DesalinationPlantEfficiency=
7
input_FreshWaterShare=
0.7
input_BrineShare=
0.3
input_DesalinationTurbineEfficiency=
0.9
input_DesalinationPumpEfficiency=
0.85
input_DesalinationTurbineCapacity=
0
input_DesalinationPumpCapacity=
0
input_BrineStorageCapacity=
0
input_BrineEnergyEquivalent=
2
Input_inv_Desalination=
0
Input_FOM_Desalination=
0
Input_Period_Desalination=
0
Input_inv_WaterStorage=
0
Input_FOM_WaterStorage=
0
Input_Period_WaterStorage=
0
input_CO2_CCS=
0
input_Inv_Boilers_dh_gr1=
0
input_Period_Boilers_dh_gr1=
0
input_FOM_Boilers_dh_gr1=
0
ThermalStorageDays=
14
input_HH_EB_CapLimit=
1
input_CCS_El_PerUnit=
0.37
input_CCS_Regulation_number=
1
Input_CCS_Capacity=
0
input_Heatdemand_PerHouse=
6000
input_Inv_EHgr2gr3=
0
input_Period_EHgr2gr3=
0
input_FOM_EHgr2gr3=
0
input_dh_ann_loss_gr1=
0.2
input_dh_ann_loss_gr2=
0.15
input_dh_ann_loss_gr3=
0.14
input_coal_ann_losses=
0
input_oil_ann_losses=
0
input_gas_ann_losses=
0
input_bio_ann_losses=
0
Various11Text=
0
Various12Text=
0
Various13Text=
0
Various14Text=
0
Various15Text=
0
Various16Text=
0
Various17Text=
0
Various18Text=
0
Various19Text=
0
Various20Text=
0
input_Period_Various11=
0
input_FOM_Various11=
0
input_Inv_Various11=
0
input_Period_Various12=
0
input_FOM_Various12=
0
input_Inv_Various12=
0
input_Period_Various13=
0
input_FOM_Various13=
0
input_Inv_Various13=
0
input_Period_Various14=
0
input_FOM_Various14=
0
input_Inv_Various14=
0
input_Period_Various15=
0
input_FOM_Various15=
0
input_Inv_Various15=
0
input_Period_Various16=
0
input_FOM_Various16=
0
input_Inv_Various16=
0
input_Period_Various17=
0
input_FOM_Various17=
0
input_Inv_Various17=
0
input_Period_Various18=
0
input_FOM_Various18=
0
input_Inv_Various18=
0
input_Period_Various19=
0
input_FOM_Various19=
0
input_Inv_Various19=
0
input_Period_Various20=
0
input_FOM_Various20=
0
input_Inv_Various20=
0
Input_OilNetStorage=
0
Input_MethanolNetStorage=
0
Input_inv_GasNetStorage=
0
Input_FOM_GasNetStorage=
0
Input_Period_GasNetStorage=
0
Input_inv_OilNetStorage=
0
Input_FOM_OilNetStorage=
0
Input_Period_OilNetStorage=
0
Input_inv_MethanolNetStorage=
0
Input_FOM_MethanolNetStorage=
0
Input_Period_MethanolNetStorage=
0
Input_inv_Interconnection=
0
Input_FOM_Interconnection=
0
Input_Period_Interconnection=
0
input_cap_chp2_thermal=
1500
input_cap_chp3_thermal=
1500
input_geo_th_gr1=
0
input_geo_th_gr2=
0
input_geo_th_gr3=
0.0558
Input_chp_thermal_cap_button=
Auto
input_ind_surplus_heat1=
0
input_ind_surplus_heat2=
0
input_ind_surplus_heat3=
0
Input_Inv_geo_th=
396.67
Input_FOM_geo_th=
0.83
Input_Period_geo_th=
30
Input_Inv_ind_surplus_heat=
30
Input_FOM_ind_surplus_heat=
1
Input_Period_ind_surplus_heat=
30
notes_model_areaText=
0
notes_model_yearText=
0
notes_developed_yearText=
0
general_notesText=
0
Filnavn_ind_surplus_heat=
const.txt
Filnavn_Hour_file_geo=
const.txt
Input_Inv_transport_bicycles=
0
Input_FOM_transport_bicycles=
0
Input_Period_transport_bicycles=
0
Input_Inv_transport_motorbikes=
0
Input_FOM_transport_motorbikes=
0
Input_Period_transport_motorbikes=
0
Input_Inv_transport_electric_cars=
28.0969524064153
Input_FOM_transport_electric_cars=
0.115807441318095
Input_Period_transport_electric_cars=
16
Input_Inv_transport_conventional_cars=
20.7929653090616
Input_FOM_transport_conventional_cars=
0.704697986577181
Input_Period_transport_conventional_cars=
16
Input_Inv_transport_electric_busses=
0
Input_FOM_transport_electric_busses=
0
Input_Period_transport_electric_busses=
0
Input_Inv_transport_diesel_busses=
183.750027358405
Input_FOM_transport_diesel_busses=
0.548172152364927
Input_Period_transport_diesel_busses=
6
Input_Inv_transport_electric_trucks=
102.896806575006
Input_FOM_transport_electric_trucks=
1.26625092504593
Input_Period_transport_electric_trucks=
6
Input_Inv_transport_diesel_trucks=
102.896806575006
Input_FOM_transport_diesel_trucks=
1.26625092504593
Input_Period_transport_diesel_trucks=
6
Input_Inv_transport_other_vehicles1=
0
Input_FOM_transport_other_vehicles1=
0
Input_Period_transport_other_vehicles1=
0
Input_Inv_transport_other_vehicles2=
0
Input_FOM_transport_other_vehicles2=
0
Input_Period_transport_other_vehicles2=
0
Input_Inv_transport_other_vehicles3=
0
Input_FOM_transport_other_vehicles3=
0
Input_Period_transport_other_vehicles3=
0
Input_Inv_transport_other_vehicles4=
0
Input_FOM_transport_other_vehicles4=
0
Input_Period_transport_other_vehicles4=
0
Input_Inv_transport_other_vehicles5=
0
Input_FOM_transport_other_vehicles5=
0
Input_Period_transport_other_vehicles5=
0
Input_Size_transport_bicycles=
0
Input_Size_transport_motorbikes=
0
Input_Size_transport_electric_cars=
0
Input_Size_transport_conventional_cars=
0
Input_Size_transport_electric_busses=
0
Input_Size_transport_diesel_busses=
0
Input_Size_transport_electric_trucks=
0
Input_Size_transport_diesel_trucks=
0
Input_Size_transport_other_vehicles1=
0
Input_Size_transport_other_vehicles2=
0
Input_Size_transport_other_vehicles3=
0
Input_Size_transport_other_vehicles4=
0
Input_Size_transport_other_vehicles5=
0
other_vehicles1Text=
0
other_vehicles2Text=
0
other_vehicles3Text=
0
other_vehicles4Text=
0
other_vehicles5Text=
0
NameRES5=
Tidal
NameRES6=
Wave Power
NameRES7=
Offshore Wind
input_RES5_capacity=
0
input_RES5_factor=
0
input_RES6_capacity=
0
input_RES6_factor=
0
input_RES7_capacity=
0
input_RES7_factor=
0
input_RES5_stab_share=
0
input_RES6_stab_share=
0
input_RES7_stab_share=
0
Filnavn_RES5=
hour_tidal_power.txt
Filnavn_RES6=
Hour_solar_prod1.txt
Filnavn_RES7=
Offshore_Europe_2050.txt
input_cshp_th_own_gr1=
0
input_cshp_th_own_gr2=
0
input_cshp_th_own_gr3=
0
EmissionUnit=
Gt
Input_Inv_ind_CHP_elec=
0
Input_Period_ind_CHP_elec=
0
Input_FOM_ind_CHP_elec=
0
Input_Inv_ind_CHP_heat=
0
Input_Period_ind_CHP_heat=
0
Input_FOM_ind_CHP_heat=
0
input_Nuclear_partload=
1
input_Cooling_Chillers_demand=
0
input_CoolingChillers_eff=
2
input_NaturalCooling_Chillers=
0
input_Cooling_gr1_network_loss=
0
input_Cooling_gr2_network_loss=
0
input_Cooling_gr3_network_loss=
0
input_Cooling_Chiller_network_loss=
0
Filnavn_cooling_netloss=
const.txt
Input_V2G_TechnicalRegulation=
1
input_fuel_dhp[7]=
0
input_fuel_chp2[7]=
0
input_fuel_chp3[7]=
0
input_fuel_Boiler2[7]=
0
input_fuel_Boiler3[7]=
0
input_fuel_PP[7]=
0
input_fuel_PP2[7]=
0
Input_V2G_Hydro_Priotization=
1
input_eff_ELTCO2_fuel=
0.8
input_eff_ELTBiomass_fuel=
0.8
input_eff_ELTBiogas_fuel=
0.8
Input_CO2Elt_DHgr2_Share=
0
Input_CO2Elt_DHgr3_Share=
0
Input_BiomassElt_DHgr2_Share=
0
Input_BiomassElt_DHgr3_Share=
0
Input_BiogasElt_DHgr2_Share=
0
Input_BiogasElt_DHgr3_Share=
0
Input_transys=
1
input_cap_rock_el=
0
share_rock_store=
1
input_cap_rock_steam=
0
input_rock_store_cap=
0
input_rock_store_loss=
0.05
input_rockbed_reg=
1
input_HydroPowerStorageYearBegin=
0.5
input_HydroPowerStorageYearEnd=
0.5
input_HydroPowerContentButton=
0
input_rock_steam_output_eff=
1
input_VC_SteamStorage=
0
input_Inv_SteamStorage=
0
input_Period_SteamStorage=
0
input_FOM_SteamStorage=
0
Filnavn_CSP=
hour_solar_prod1.txt
Input_CSP_Solar=
0
Input_CSP_Storage_cap=
0
Input_CSP_Storage_eff=
0.5
Input_CSP_Power_cap=
0
Input_CSP_Power_eff=
0.3
input_CSP_stab_share=
0
ExcessHeatToSolarStorage=
False
Filnavn_Industry_Hydrogen=
const.txt
input_fuel_CSHP[6]=
0
input_eff_ELTIndustry_fuel=
0.8
Input_IndustryElt_DHgr2_Share=
0
Input_IndustryElt_DHgr3_Share=
0
Input_RESZeroOrNegativePrices=
2
Input_LiqHydroLiqFuel=
0
Input_LiqHydro_HydrogenShare=
0.38
Input_LiqHydro_eff=
0.992
Input_LiqMethanLiqFuel=
0
Input_LiqMethan_HydrogenShare=
0
Input_LiqMethan_eff=
0
Input_LiqCO2HydroHydrogenRatio=
1.153
Input_LiqCO2HydroSequestrationCO2Eff=
0.252
Input_CO2HydroLiqFuel=
0
Input_inv_LiqHydro=
0.3
Input_FOM_LiqHydro=
4
Input_Period_LiqHydro=
25
Input_inv_SynHydroBio=
0.2
Input_period_SynHydroBio=
25
Input_FOM_SynHydroBio=
4
Input_inv_LiqHydroBio=
0.3
Input_period_LiqHydroBio=
25
Input_FOM_LiqHydroBio=
4
Input_inv_SynMethan=
0
Input_period_SynMethan=
0
Input_FOM_SynMethan=
0
Input_inv_LiqMethan=
0
Input_period_LiqMethan=
0
Input_FOM_LiqMethan=
0
Input_inv_SynFuelPetrol=
0
Input_period_SynFuelPetrol=
0
Input_FOM_SynFuelPetrol=
0
Input_inv_SynFuelDiesel=
0
Input_period_SynFuelDiesel=
0
Input_FOM_SynFuelDiesel=
0
Input_SynHydro_DHgr2_Share=
0
Input_SynHydro_DHgr3_Share=
0.05
Input_SynMethane_DHgr2_Share=
0
Input_SynMethane_DHgr3_Share=
0.05
input_hp_maxload2=
0.5
Input_add_el_TWh=
1.14465549401413
Filnavn_add_el=
EU28 Electricity demand.txt
Input_N2NH3Eff=
0.146
Input_H2NH3Eff=
0.948
Input_NH3Output=
0
Input_ElecN2Eff=
0.107
Input_NH3DH2Share=
0
Input_NH3DH3Share=
0
Input_NH3MaxCap=
0
Input_NH3EltEff_fuel=
0.73
Input_NH3Elt_DH2_share=
0
Input_NH3Elt_DH3_share=
0.05
Input_NH3_input=
0
Input_km_NH3=
1.5
Input_inv_N2_air=
0
Input_Period_N2_air=
0
Input_FOM_N2_air=
0
Input_Inv_NH3=
0
Input_Period_NH3=
0
Input_FOM_NH3=
0
input_cap_pump_el2=
139.123
input_eff_pump_el2=
0.92
input_cap_turbine_el2=
139.123
input_eff_turbine_el2=
0.92
input_storage_pump_cap2=
0.556
input_Inv_pump2=
0
input_Period_pump2=
0
input_FOM_pump2=
0
input_Inv_turbine2=
0
input_Period_turbine2=
0
input_FOM_turbine2=
0
input_Inv_PumpStorage2=
300
input_Period_PumpStorage2=
20
input_FOM_PumpStorage2=
0
Input_ThermalStorageRegulationGr3=
Weekly
Input_ThermalStorageRegulationGr2=
Weekly
Input_IncludeEB2=
No
Input_IncludeEB3=
No
Filnavn_WishImportExport=
zero.txt
Input_CAES_hour_time=
24
input_ElecStorProfitMargin=
0
MaxElectricityMarketPrice=
0
MinElectricityMarketPrice=
0
CHP_gridstab_priority=
false
input_CHP2_SO2=
0
input_CHP3_SO2=
0
input_Waste_SO2=
0
input_PP_SO2=
0
input_Nuclear_SO2=
0
input_Biogas_SO2=
0
input_Gasification_SO2=
0
input_HHCoal_SO2=
0
input_HHOil_SO2=
0
input_HHGas_SO2=
0
input_HHBio_SO2=
0
input_H2CHP_SO2=
0
input_GasCHP_SO2=
0
input_BioCHP_SO2=
0
input_CHP2_PM=
0
input_CHP3_PM=
0
input_Waste_PM=
0
input_PP_PM=
0
input_Nuclear_PM=
0
input_Biogas_PM=
0
input_Gasification_PM=
0
input_HHCoal_PM=
0
input_HHOil_PM=
0
input_HHGas_PM=
0
input_HHBio_PM=
0
input_H2CHP_PM=
0
input_GasCHP_PM=
0
input_BioCHP_PM=
0
input_CHP2_NO=
0
input_CHP3_NO=
0
input_Waste_NO=
0
input_PP_NO=
0
input_Nuclear_NO=
0
input_Biogas_NO=
0
input_Gasification_NO=
0
input_HHCoal_NO=
0
input_HHOil_NO=
0
input_HHGas_NO=
0
input_HHBio_NO=
0
input_H2CHP_NO=
0
input_GasCHP_NO=
0
input_BioCHP_NO=
0
input_CHP2_CH4=
0
input_CHP3_CH4=
0
input_Waste_CH4=
0
input_PP_CH4=
0
input_Nuclear_CH4=
0
input_Biogas_CH4=
0
input_Gasification_CH4=
0
input_HHCoal_CH4=
0
input_HHOil_CH4=
0
input_HHGas_CH4=
0
input_HHBio_CH4=
0
input_H2CHP_CH4=
0
input_GasCHP_CH4=
0
input_BioCHP_CH4=
0
input_CHP2_N2O=
0
input_CHP3_N2O=
0
input_Waste_N2O=
0
input_PP_N2O=
0
input_Nuclear_N2O=
0
input_Biogas_N2O=
0
input_Gasification_N2O=
0
input_HHCoal_N2O=
0
input_HHOil_N2O=
0
input_HHGas_N2O=
0
input_HHBio_N2O=
0
input_H2CHP_N2O=
0
input_GasCHP_N2O=
0
input_BioCHP_N2O=
0
input_HTL_Waste=
0
input_HTL_biomass=
0
input_HTL_eff_H2=
0.446
input_HTL_eff_JP=
0.205
input_HTL_eff_BioDiesel=
0.547
input_HTL_eff_Methanol=
0.288
input_HTL_eff_Syngas=
0.119
input_HTL_eff_DHGr3=
0.162
input_HTL_eff_InputToBiogas=
0.112
input_Pyrolysis_Waste=
0
input_Pyrolysis_Biomass=
0
input_Pyrolysis_eff_Syngas=
0.19
input_Pyrolysis_eff_BioDiesel=
0.15
input_Pyrolysis_eff_JP=
0.08
input_Pyrolysis_eff_BioChar=
0.4
input_Pyrolysis_eff_BiocharToCO2=
90
input_BiogasToPyrolysis=
0
input_HTL_eff_BioPetrol=
0.081
input_inv_htl=
0
input_FOM_htl=
0
input_period_htl=
0
input_inv_pyr=
0
input_FOM_pyr=
0
input_period_pyr=
0
xxx
xxx
xxx
xxx
xxx
xxx
xxx
xxx
xxx
xxx